Phone: +420 29644 3148, Web: http://core.img.cas.cz/

Please, fill out this form and send it as an attachment to coregenomics@img.cas.cz  Please, send also the signed hard copy of this form with your samples. Provided information is for our internal use only and remains confidential. For any questions, please, feel free to contact us at the phone number listed above or email us.

Samples are usually processed  in 6 weeks after the delivery. For shorter processing time please arrange fix date for performing the experiment at least 4 weeks before the delivery of the samples. All samples written in this form will be processed on chips unless stated otherwise.

The genomic DNA must be diluted to required concentration (see TAB.1 below) in reduced EDTA TE buffer (0.1 mM EDTA, 10 mM Tris HCl, pH 8). An elevated EDTA level may interfere with subsequent reactions. The genomic DNA must be free of PCR inhibitors. The quality of gDNA samples should be assessed by agarose gel electrophoresis. High quality gDNA will run as a major band at approximately 10–20 kb on the gel. The A260/A280 ratio should be approximately 2.0 with range between 1.8 and 2.1 considered acceptable.

gDNA quality will be checked at the facility. If low quality is suspected, the procedure will be stopped.

TAB.1

| Chip type (protocol) | Minimal concentration | Required amount of sample |
| --- | --- | --- |
| Mapping chips (10K, 250K) | 50 ng/µl | 0.5 µg of gDNA |
| Mapping chips (SNP 6.0) | 50 ng/µl | 1 µg of gDNA |
| Resequencing chips | 5 ng/µl | 150 ng of gDNA |

GeneChip Experiment Request Form

Investigator Information

| Name |  |
| --- | --- |
| Address |  |
| Phone |  |
| Fax |  |
| E-mail |  |
| Contact Name |  |

Your Order ID

Investigator’s signature _____________________________	Date

Additional documents

|  | I have enclosed a gel image to prove sample quality (required) |
| --- | --- |
|  | I have enclosed a copy of the appropriate ethics review approval (required if the samples have been obtained from human subjects) |

Type of analysis requested

GeneChip Mapping Analysis

GeneChip Resequencing Analysis

GeneChip Experiment Request Form (page 2)

Experiment design

Which type of GeneChips you want to use?

| Mapping 10K 2.0 Array | Genome-Wide Human SNP Array 5.0 |
| --- | --- |
| Human Mapping 100K Array Set | Genome-Wide Human SNP Array 6.0 |
| Human Mapping 500K Array Set | Human Mitochondrial resequencing Array 2.0 |

Other

(Please, indicate accurate name according http://www.affymetrix.com/products_services/arrays/index.affx )

Sample description (species, tissue or cell line)

GeneChip Experiment Request Form (page 3)

Sample type     genomic DNA

|  | Sample name | Conc. (ug/ul) | Volume (ul) |  | Sample name | Conc. (ug/ul) | Volume (ul) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  | 26 |  |  |  |
| 2 |  |  |  | 27 |  |  |  |
| 3 |  |  |  | 28 |  |  |  |
| 4 |  |  |  | 29 |  |  |  |
| 5 |  |  |  | 30 |  |  |  |
| 6 |  |  |  | 31 |  |  |  |
| 7 |  |  |  | 32 |  |  |  |
| 8 |  |  |  | 33 |  |  |  |
| 9 |  |  |  | 34 |  |  |  |
| 10 |  |  |  | 35 |  |  |  |
| 11 |  |  |  | 36 |  |  |  |
| 12 |  |  |  | 37 |  |  |  |
| 13 |  |  |  | 38 |  |  |  |
| 14 |  |  |  | 39 |  |  |  |
| 15 |  |  |  | 40 |  |  |  |
| 16 |  |  |  | 41 |  |  |  |
| 17 |  |  |  | 42 |  |  |  |
| 18 |  |  |  | 43 |  |  |  |
| 19 |  |  |  | 44 |  |  |  |
| 20 |  |  |  | 45 |  |  |  |
| 21 |  |  |  | 46 |  |  |  |
| 22 |  |  |  | 47 |  |  |  |
| 23 |  |  |  | 48 |  |  |  |
| 24 |  |  |  | 49 |  |  |  |
| 25 |  |  |  | 50 |  |  |  |

|  | I wish to take the samples back after the analysis (otherwise they will be discarded after 12 weeks without further infomation) |
| --- | --- |

GeneChip Experiment Request Form (page 4)

Sample preparation method (isolation procedure, reagents used, dilution buffer, storage)

Comments

Date of  delivery:					Customer’s signature:

Experiment finished on:				Core lab’s signature:

Remaining samples returned:			Core lab’s signature:

Customer’s signature: